## Checklist
Home Maintenance Checklist & Tracker
Free template from repair.campusdown.com. Enter the date you last did a task; 'Next due' fills in. Follow your equipment manuals first.
Section | Task | Frequency | Every (days) | Last done | Next due | Notes
Monthly | Test smoke and carbon monoxide alarms | Monthly | 30
Monthly | Check HVAC filter; replace when dirty or per the filter's label | Monthly | 30
Monthly | Test GFCI outlets (press Test, then Reset) | Monthly | 30
Monthly | Look under sinks and around toilets for drips | Monthly | 30
Monthly | Clean range hood filter if greasy | Monthly | 30
Monthly | Check fire extinguisher gauge is in the green | Monthly | 30
Spring | Clean gutters and downspouts; make sure water drains away from the house | Yearly - spring | 365
Spring | Walk around the roof line, siding and foundation for damage | Yearly - spring | 365
Spring | Schedule air conditioning service before hot weather | Yearly - spring | 365
Spring | Test sump pump (if you have one) | Yearly - spring | 365
Spring | Check window and door screens and seals | Yearly - spring | 365
Summer | Inspect deck, porch and fence for loose boards or rot | Yearly - summer | 365
Summer | Clean dryer vent duct to the outside | Yearly - summer | 365
Summer | Check outdoor faucets and irrigation for leaks | Yearly - summer | 365
Summer | Trim plants away from AC unit and siding | Yearly - summer | 365
Fall | Clean gutters again after leaves fall | Yearly - fall | 365
Fall | Schedule heating system service | Yearly - fall | 365
Fall | Disconnect garden hoses and shut off outdoor faucets before freezing weather | Yearly - fall | 365
Fall | Check weatherstripping and caulk on doors and windows | Yearly - fall | 365
Fall | Have chimney inspected if you use a fireplace | Yearly - fall | 365
Winter | Watch for ice dams and icicles along the roof edge | Yearly - winter | 365
Winter | Check attic for leaks, frost or damp insulation | Yearly - winter | 365
Winter | Keep pipes in unheated areas from freezing | Yearly - winter | 365
Winter | Make sure you can find and turn the main water shutoff | Yearly - winter | 365
Yearly | Check water heater per the manufacturer's manual (flush, look for leaks) | Yearly | 365
Yearly | Vacuum refrigerator coils | Yearly | 365
Yearly | Recaulk around tubs, showers and sinks where it's cracked | Yearly | 365
Yearly | Replace alarm batteries (non-sealed units) | Yearly | 365
Yearly | Review home inventory photos for insurance | Yearly | 365